# Standard Operating Procedure for Laboratories

# CHLOROFORM

| Department: | Click here to enter text. |
| --- | --- |
| Principal Investigator(s): | Click here to enter text. |
| Lab Manager/Coordinator: | Click here to enter text. |
| Location of Experiment: (Building/Room Number) | Click here to enter text. |
| Lab Phone: | Click here to enter text. |
| Office Phone: | Click here to enter text. |
| Emergency Contact: (Name/Phone) | Click here to enter text. |

# Reviewed and Approved by:

| PI: (Typed Name) | Click here to enter text. |  |
| --- | --- | --- |
| PI: (Signature and Date) |  | Click here to enter a date. |
| Lab Manager: (if PI unavailable) |  | Click here to enter a date. |

# Hazardous Material Use and Management

| Hazardous Material(s) Used: (wt./volume) | Chloroform: Maximum amount allowed without PI approval: |
| --- | --- |
| Hazardous Material Storage Location: | Keep container tightly closed in a dry and well-ventilated place. Containers, which are opened, must be carefully resealed and kept upright to prevent leakage. |
| Experimental Procedure and Techniques to be Used: |  |
| Hazard Identification: (i.e., physical/health hazards) | CAS # 67-66-3 GHS Classification: Acutely toxic, carcinogen, skin and eye irritant, reproductive toxin. - Inhalation of the concentrated vapor cause dilation of pupils with reduced reaction to light, feeling warmth of the face and body. - Prolong inhalation will bring on paralysis accompanied by cardiac –respiratory failure and final death. - Forms impact-sensitive explosive mixtures with sodium or potassium. - Reacts violently with acetone and alkali. Incompatible with dinitrogen tetraoxide, fluorine, metals, or triisopropylphosphine. - When heated to decomposition it emits toxic fumes of Chlorine or phosgene. OSHA PEL: TWA 2ppm, C 50ppm ACGIH TLV: TWA 10 ppm NIOSH REL: C 2ppm Review MSDS/SDS prior to working with chemical. |
| Engineering Controls: (chemical fume hood, biosafety cabinet, glove box) | Use in chemical fume hood with adequate exhaust. Eyewash and safety showers must be readily available Wash hands before breaks and immediately after handling the chloroform. |
| Protective Equipment: | Use chemical resistant gloves, nitrile gloves or fluorinated rubber gloves are sufficient. Wear tightly fitted safety gaggles, faceshield may be required. Wear lab coat, long pants and closed-toe shoes Always check with glove manufacturer for more info. |
| Waste Collection/Disposal Method: | Waste should be collected in tightly closed container, in secondary containment and in a designated location inside a fume hood. Affix and complete hazardous waste label. Contact REHS for waste pick up. https://halflife.rutgers.edu/forms/hazwaste.php |
| Spill Management: | Avoid breathing vapors, mist or gas. Ensure adequate ventilation. Evacuate personnel to safe areas. Soak up spill with inert absorbent material and dispose of as hazardous waste. If a spill happened outside fume hood, on floor, on bench or outside the lab contact REHS for clean up or call 911. |
| First Aid: | Eyes: Flush eyes with warm water for 15 min. Seek medical attention as soon as possible. Skin: Flush affected skin with plenty of warm water and mild soap. Seek medical attention if discomfort or irritation persists. Inhalation: Remove to fresh air. If breathing is difficult, give oxygen. Seek medical attention. Ingestion: Rinse mouth with water. Consult a physician. |

# Training

- Prior to conducting any work with chloroform, designated personnel must be provided training specific to the hazard involved in working with the substance.

- The PI must provide his/her lab personnel with a copy of the SOP and a copy of the SDS provided with the manufacturer.

- The PI must ensure that his/her lab personnel have attended and are up to date on the appropriate laboratory safety training within the last year.

# I have read and understood the content of this SOP and the SDS:

| Lab Personnel (Running the Experiment) | Date of Hands-on Training from Department | Signature of Lab Personnel |
| --- | --- | --- |
| Click here to enter text. | Click here to enter text. |  |
| Click here to enter text. | Click here to enter text. |  |
| Click here to enter text. | Click here to enter text. |  |

CHLOROFORM

Acutely Toxic, Carcinogen, Skin and Eye Irritant, Reproductive Toxin.

FIRST AID

Eyes: Flush eyes with warm water for 15 min. Seek medical attention as soon as possible.

Skin: Flush affected skin with plenty of warm water and mild soap. Seek medical attention if discomfort or irritation persists.

Inhalation: Remove to fresh air. If breathing is difficult, give oxygen. Seek medical attention.

Ingestion: Rinse mouth with water. Consult a physician.

DIAL 911                                             Call REHS for more information 848-445-2550